## Transformador
ID | Fases | ReferenciaLabelec | Substituido | Local_Caverna | Transf_Reserva | Descricao | Fabricante | Potencia_kVA | Tensao_Primario_kV | Tensao_Secundario_kV | Tensao_Terciario_kV | Max_Tensao_kV | AnoFabrico | TipoOleo | PesoOleo_Ton | Tipo_ID | Estado | Comprimento_m | Largura_m | Altura_m | TipoRefrigeracao | Tensao_CC | N_Tomadas
1 | Trifásico | 12839 1 | FALSE | FALSE | FALSE | Precipitador 1 | EFACEC | 2500 | 0.67 | 6 |  | 6 | 1983-01-01 | ESSO UNIVOLT N 52 | 1.23 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
2 | Trifásico | 12839 2 | FALSE | FALSE | FALSE | Precipitador 2 | EFACEC | 2500 | 0.67 | 6 |  | 6 | 1983-01-01 | ESSO UNIVOLT N 52 | 1.23 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
3 | Trifásico | 12838 1 | FALSE | FALSE | FALSE | Precipitador 1 | EFACEC | 2500 | 0.67 | 6 |  | 6 | 1983-01-01 | ESSO UNIVOLT N 52 | 1.23 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
4 | Trifásico | 12838 2 | FALSE | FALSE | FALSE | Precipitador 2 | EFACEC | 2500 | 0.67 | 6 |  | 6 | 1983-01-01 | ESSO UNIVOLT N 52 | 1.23 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
5 | Trifásico | 19392 C | FALSE | FALSE | FALSE | Serviços Gerais | EFACEC | 30000 | 6.5 | 63 |  | 63 | 1982-01-01 | NYNAS NYTRO TAURUS | 12 | Auxiliar | Operacional | 3.56 | 2.31 | 1.74 | ONAF (Oil Natural Air Forced)
6 | Trifásico | 19121 S | FALSE | FALSE | FALSE | 1TP | EFACEC | 340000 | 18 | 157.5 |  | 157.5 | 1984-01-01 | NYNAS NYTRO 11 EN | 29 | Principal | Operacional | 8.9 | 7.03 | 4.85 | ODAF (Oil Directed Air Forced) | 9.8%
7 | Trifásico | 19125 S | FALSE | FALSE | FALSE | 2TP | EFACEC | 340000 | 18 | 400 |  | 400 | 1985-01-01 | NYNAS NYTRO 11 EN | 65 | Principal | Operacional | 10.25 | 11.64 | 5.5 | ODAF (Oil Directed Air Forced)
8 | Trifásico | 11754 S | FALSE | FALSE | FALSE | 3TP | EFACEC | 340000 | 18 | 400 |  | 400 | 1986-01-01 | NYNAS NYTRO 11 EN | 65 | Principal | Operacional | 10.5 | 10.45 | 5.45 | ODAF (Oil Directed Air Forced)
9 | Trifásico (Fases Dissociadas) | S 10028 | FALSE | FALSE | FALSE | 4TP | EFACEC | 340000 | 18 | 400 |  | 400 | 2002-01-01 | NYNAS NYTRO 11 EN | 75 | Principal | Operacional | 14 | 10.06 | 5.83 | ODAF (Oil Directed Air Forced)
10 | Trifásico | 19420 C | FALSE | FALSE | FALSE | 1TS | EFACEC | 50000 | 6.5 | 6.5 | 18 | 6.5 | 1984-01-01 | NYNAS NYTRO TAURUS | 22.5 | Auxiliar | Operacional | 6.16 | 5.78 | 4.51 | ONAF (Oil Natural Air Forced)
11 | Trifásico | 19421 C | FALSE | FALSE | FALSE | 2TS | EFACEC | 50000 | 18 | 6.5 | 6.5 | 18 | 1985-01-01 | NYNAS NYTRO TAURUS | 22.5 | Auxiliar | Operacional | 6.16 | 5.78 | 4.51 | ONAF (Oil Natural Air Forced) | 7.1% | 17
12 | Trifásico | 11724 C | FALSE | FALSE | FALSE | 3TS | EFACEC | 50000 | 6.5 | 6.5 | 18 | 6.5 | 1986-01-01 | NYNAS NYTRO TAURUS | 22.5 | Auxiliar | Operacional | 6.16 | 5.78 | 4.51 | ONAF (Oil Natural Air Forced)
13 | Trifásico | 11828 C | FALSE | FALSE | FALSE | 4TS | EFACEC | 50000 | 6.5 | 6.5 | 18 | 6.5 | 1988-01-01 | NYNAS NYTRO TAURUS | 22.5 | Auxiliar | Operacional | 6.16 | 5.78 | 4.51 | ONAF (Oil Natural Air Forced)
14 |  | 1090777 7 | FALSE | FALSE | FALSE | R1A | [9 empty] | ND | Operacional
15 |  | 1090782 4 | FALSE | FALSE | FALSE | R4A | [9 empty] | ND | Operacional
16 |  | 1090782 16 | FALSE | FALSE | FALSE | R4D | [9 empty] | ND | Operacional
17 |  | 1090777 19 | FALSE | FALSE | FALSE | R1E | [9 empty] | ND | NOperacional
18 | Monofásico | 79849 | FALSE | FALSE | FALSE | 4TI (Fase 2) | [9 empty] | Medida&Controlo | NOperacional
19 | Monofásico | 79850 | FALSE | FALSE | FALSE | 4TI (Fase 3) | [9 empty] | Medida&Controlo | NOperacional
20 | Trifásico | 11835 S | TRUE | FALSE | FALSE | 4TP [2007] | EFACEC | 340000 | 18 | 400 |  | 400 | 1988-01-01 | NYNAS NYTRO 11 EN | 65 | Principal | NOperacional |  |  |  | ODAF (Oil Directed Air Forced)
21 | Monofásico | 79851 | FALSE | FALSE | FALSE | 2 (Fase 1) | [9 empty] | ND | Operacional
22 | Monofásico | 66565 | FALSE | FALSE | FALSE | 2 (Fase 2) | [9 empty] | ND | Operacional
23 | Monofásico | 66566 | FALSE | FALSE | FALSE | 2 (Fase 3) | [9 empty] | ND | Operacional
24 | Monofásico | 73746 | FALSE | FALSE | FALSE | 3 (Fase 1) | [9 empty] | ND | Operacional
25 | Monofásico | 53495 | TRUE | FALSE | FALSE | 3 (Fase 2) | [9 empty] | ND | Operacional
26 | Monofásico | 74957 | FALSE | FALSE | FALSE | 3 (Fase 3) | [9 empty] | ND | Operacional
27 | Monofásico | 87668 | FALSE | FALSE | FALSE | Parque 400 kV (Fase 1) | [9 empty] | ND | Operacional
28 | Monofásico | 87669 | FALSE | FALSE | FALSE | Parque 400 kV (Fase 2) | [9 empty] | ND | Operacional
29 | Monofásico | 87670 | FALSE | FALSE | FALSE | Parque 400 kV (Fase 3) | [9 empty] | ND | Operacional
30 | Trifásico | 10402 S | FALSE | FALSE | TRUE | 1TP | EFACEC | 80000 | 10 | 160 |  | 160 | 1969-01-01 | SONAP STO/10 | 23 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
31 | Trifásico | S 11684 | FALSE | FALSE | TRUE | 2TP | EFACEC | 84000 | 10 | 160 |  | 160 | 1985-01-01 | ESSO UNIVOLT N 52 | 16 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
32 | Monofásico | T 53716 | TRUE | FALSE | FALSE | 4TP VN (Fase 2) [1997] / Reserva TP | SIEMENS | 20000 | 10.25 | 165 |  | 165 | 1955-01-01 | SHELL DIALA D | 10.9 | Reserva | NOperacional | 3.9 | 2.4 | 3.5 | OFWF (Oil Forced Water Forced)
33 | Monofásico | T 432876 | FALSE | FALSE | TRUE | 1TP (Fase 1) | METROPOLITAN VICKERS | 10000 | 10.25 | 165 |  | 165 | 1936-01-01 | SHELL DIALA D | 10.9 | Principal | Operacional | 4.1 | 2.2 | 3.9 | OFWF (Oil Forced Water Forced)
34 | Monofásico | T 433479 | FALSE | FALSE | TRUE | 1TP (Fase 2) | METROPOLITAN VICKERS | 10000 | 10.25 | 165 |  | 165 | 1936-01-01 | SHELL DIALA D | 10.9 | Principal | Operacional | 4.1 | 2.2 | 3.9 | OFWF (Oil Forced Water Forced)
35 | Monofásico | T 433480 | FALSE | FALSE | TRUE | 1TP (Fase 3) | METROPOLITAN VICKERS | 10000 | 10.25 | 165 |  | 165 | 1936-01-01 | SHELL DIALA D | 10.9 | Principal | Operacional | 4.1 | 2.2 | 3.9 | OFWF (Oil Forced Water Forced)
36 | Monofásico | T 432877 | FALSE | FALSE | TRUE | 2TP (Fase 1) | METROPOLITAN VICKERS | 10000 | 10.25 | 165 |  | 165 | 1936-01-01 | SHELL DIALA D | 10.9 | Principal | Operacional | 4.1 | 2.2 | 3.9 | OFWF (Oil Forced Water Forced)
37 | Monofásico | T 433477 | FALSE | FALSE | TRUE | 2TP (Fase 2) | METROPOLITAN VICKERS | 10000 | 10.25 | 165 |  | 165 | 1936-01-01 | SHELL DIALA D | 10.9 | Principal | Operacional | 4.1 | 2.2 | 3.9 | OFWF (Oil Forced Water Forced)
38 | Monofásico | T 433478 | FALSE | FALSE | TRUE | 2TP (Fase 3) | METROPOLITAN VICKERS | 10000 | 10.25 | 165 |  | 165 | 1936-01-01 | SHELL DIALA D | 10.9 | Principal | Operacional | 4.1 | 2.2 | 3.9 | OFWF (Oil Forced Water Forced)
39 | Monofásico | T 432878 | FALSE | FALSE | TRUE | 3TP (Fase 1) | METROPOLITAN VICKERS | 10000 | 10.25 | 165 |  | 165 | 1936-01-01 | SHELL DIALA D | 10.9 | Principal | Operacional | 4.1 | 2.2 | 3.9 | OFWF (Oil Forced Water Forced)
40 | Monofásico | LEL 65634 | FALSE | FALSE | TRUE | 3TP (Fase 2) | SIEMENS | 12000 | 10.25 | 165 |  | 165 | 1997-01-01 | ADDINOL TRF-H | 7 | Principal | Operacional | 3.83 | 2.166 | 3.635 | ONAF (Oil Natural Air Forced)
41 | Monofásico | T 433482 | FALSE | FALSE | TRUE | 3TP (Fase 3) | METROPOLITAN VICKERS | 10000 | 10.25 | 165 |  | 165 | 1936-01-01 | SHELL DIALA D | 10.9 | Principal | Operacional | 4.1 | 2.2 | 3.9 | OFWF (Oil Forced Water Forced)
42 | Monofásico | T 53714 | FALSE | FALSE | TRUE | 4TP (Fase 1) | SIEMENS | 20000 | 10.25 | 165 |  | 165 | 1955-01-01 | SHELL DIALA D | 8.7 | Principal | Operacional | 3.9 | 2.4 | 3.5 | OFWF (Oil Forced Water Forced)
43 | Monofásico | LEL 65635 | FALSE | FALSE | TRUE | 4TP (Fase 2) | SIEMENS | 22000 | 10.25 | 165 |  | 165 | 1997-01-01 | ADDINOL TRF-H | 8.8 | Principal | Operacional | 3.95 | 2.186 | 3.855 | ONAF (Oil Natural Air Forced)
44 | Monofásico | T 53715 | FALSE | FALSE | TRUE | 4TP (Fase 3) | SIEMENS | 20000 | 10.25 | 165 |  | 165 | 1955-01-01 | SHELL DIALA D | 8.7 | Principal | Operacional | 3.9 | 2.4 | 3.5 | OFWF (Oil Forced Water Forced)
45 | Monofásico | T 433481 | FALSE | FALSE | FALSE |  | METROPOLITAN VICKERS | 10000 | 10.25 | 165 |  | 165 | 1936-01-01 | SHELL DIALA D | 10.9 | Reserva | NOperacional | 4.1 | 2.2 | 3.9 | ODWF (Oil Directed Water Forced)
46 | Trifásico (Fases Dissociadas) | S 0113 A | FALSE | FALSE | FALSE | 1TP | EFACEC | 256000 |  | 414 |  |  | 2014-01-01 | NYNAS NYTRO TAURUS | 51.1 | Principal | Operacional
47 | Trifásico | LEL 89290 | FALSE | FALSE | FALSE | Reserva TP / 2TP SD | SIEMENS | 25000 | 10.25 | 160 |  | 160 | 2002-01-01 | NYNAS NYTRO 11 EN | 15.1 | Principal | Operacional | 1.9 | 1.16 | 1.695 | ONAN (Oil Natural Air Natural)
48 | Trifásico | B 99419 | FALSE | FALSE | FALSE | 1TP | BBC | 25000 | 10.25 | 160 |  | 160 | 1952-01-01 | NYNAS NYTRO 11 EN | 20 | Principal | Operacional | 1.18 | 0.69 | 1.255 | ONAN (Oil Natural Air Natural)
49 | Trifásico | B 99418 | FALSE | FALSE | FALSE | 2TP | BBC | 25000 | 10.25 | 160 |  | 160 | 1952-01-01 | NYNAS NYTRO 11 EN | 20 | Principal | NOperacional | 1.18 | 0.69 | 1.255 | ONAN (Oil Natural Air Natural)
50 | Trifásico | B 98797 | FALSE | FALSE | FALSE | TS3 | BBC | 500 | 0.4 | 10 |  | 10 | 1953-01-01 | SHELL DIALA D | 0.6 | Auxiliar | Operacional | 1.7 | 1.01 | 1.555 | ONAN (Oil Natural Air Natural)
51 | Trifásico | B 98798 | FALSE | FALSE | FALSE | TS4 | BBC | 500 | 0.4 | 10 |  | 10 | 1953-01-01 | NYNAS NYTRO 11 EN | 0.6 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
52 | Trifásico | 54467 | FALSE | FALSE | FALSE | TS5 | SIEMENS | 630 | 0.4 | 15 |  | 15 | 1995-01-01 | ESSO UNIVOLT N 52 |  | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
53 | Trifásico | 54466 | FALSE | FALSE | FALSE | TS6 | SIEMENS | 630 | 0.4 | 15 |  | 15 | 1995-01-01 | ESSO UNIVOLT N 52 |  | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
54 | Trifásico | 11733 | FALSE | FALSE | FALSE | TS3 | EFACEC | 800 | 0.4 | 10 |  | 10 | 1974-01-01 | NYNAS NYTRO TAURUS |  | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
55 | Trifásico | 10251 | FALSE | FALSE | FALSE | TS4 | EFACEC | 800 | 0.4 | 10 |  | 10 | 1974-01-01 |  |  | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
56 | Trifásico | 15685 | FALSE | FALSE | FALSE | TS5 | EFACEC | 800 | 0.4 | 15 |  | 15 | 1974-01-01 | ESSO UNIVOLT N 52 |  | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
57 | Trifásico | 15686 | FALSE | FALSE | FALSE | TS6 | EFACEC | 800 | 0.4 | 15 |  | 15 | 1974-01-01 | ESSO UNIVOLT N 52 |  | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
58 | Monofásico | S 12270 | FALSE | FALSE | TRUE | 1TP (Fase 1) | EFACEC | 116700 | 18 | 400 |  | 400 | 1992-01-01 | NYNAS NYTRO TAURUS | 21 | Principal | Operacional |  |  |  | ODAF (Oil Directed Air Forced)
59 | Monofásico | S 12269 | FALSE | FALSE | TRUE | 1TP (Fase 2) | EFACEC | 116700 | 18 | 400 |  | 400 | 1992-01-01 | NYNAS NYTRO TAURUS | 21 | Principal | Operacional |  |  |  | ODAF (Oil Directed Air Forced)
60 | Monofásico | S 12271 | FALSE | FALSE | TRUE | 1TP (Fase 3) | EFACEC | 116700 | 18 | 400 |  | 400 | 1992-01-01 | NYNAS NYTRO TAURUS | 21 | Principal | Operacional |  |  |  | ODAF (Oil Directed Air Forced)
61 | Monofásico | S 12267 | FALSE | FALSE | TRUE | 2TP (Fase 1) | EFACEC | 116700 | 18 | 400 |  | 400 | 1992-01-01 | NYNAS NYTRO TAURUS | 21 | Principal | Operacional |  |  |  | ODAF (Oil Directed Air Forced)
62 | Monofásico | S 12266 | FALSE | FALSE | TRUE | 2TP (Fase 2) | EFACEC | 116700 | 18 | 400 |  | 400 | 1992-01-01 | NYNAS NYTRO TAURUS | 21 | Principal | Operacional |  |  |  | ODAF (Oil Directed Air Forced)
63 | Monofásico | S 12268 | FALSE | FALSE | TRUE | 2TP (Fase 3) | EFACEC | 116700 | 18 | 400 |  | 400 | 1992-01-01 | NYNAS NYTRO TAURUS | 21 | Principal | Operacional |  |  |  | ODAF (Oil Directed Air Forced)
64 | Monofásico | S 12394 | FALSE | FALSE | FALSE | Reserva TP | EFACEC | 116700 | 18 | 400 |  | 400 | 1992-01-01 | NYNAS NYTRO TAURUS | 21 | Reserva | NOperacional |  |  |  | ODAF (Oil Directed Air Forced)
65 | Trifásico | 12744 1 | FALSE | FALSE | FALSE | TS1 | EFACEC | 500 | 0.4 | 15 |  | 15 | 1991-01-01 | SHELL DIALA D | 0.355 | Auxiliar | Operacional | 1.704 | 0.848 | 1.554 | ONAN (Oil Natural Air Natural)
66 | Trifásico | 12744 2 | FALSE | FALSE | FALSE | TS2 | EFACEC | 500 | 0.4 | 15 |  | 15 | 1991-01-01 | SHELL DIALA D | 0.355 | Auxiliar | Operacional | 1.704 | 0.848 | 1.554 | ONAN (Oil Natural Air Natural)
67 | Trifásico | 12812 | FALSE | FALSE | FALSE | TS D1 | EFACEC | 2000 | 15 | 18 |  | 18 | 1991-01-01 | SHELL DIALA D | 1 | Auxiliar | Operacional | 2.073 | 1.095 | 2.403 | ONAN (Oil Natural Air Natural)
68 | Monofásico | 82912 | FALSE | FALSE | FALSE | 1 (Fase 1) | [9 empty] | Medida&Controlo | Operacional
69 | Monofásico | 82911 | FALSE | FALSE | FALSE | 1 (Fase 2) | [9 empty] | Medida&Controlo | Operacional
70 | Monofásico | 82910 | FALSE | FALSE | FALSE | 1 (Fase 3) | [9 empty] | Medida&Controlo | Operacional
71 | Monofásico | 82915 | FALSE | FALSE | FALSE | 2 (Fase 1) | [9 empty] | Medida&Controlo | Operacional
72 | Monofásico | 82914 | FALSE | FALSE | FALSE | 2 (Fase 2) | [9 empty] | Medida&Controlo | Operacional
73 | Monofásico | 82913 | FALSE | FALSE | FALSE | 2 (Fase 3) | [9 empty] | Medida&Controlo | Operacional
74 | Monofásico | 82956 | FALSE | FALSE | FALSE | Interbarras (Fase 1) | [9 empty] | Medida&Controlo | Operacional
75 | Monofásico | 82955 | FALSE | FALSE | FALSE | Interbarras (Fase 2) | [9 empty] | Medida&Controlo | Operacional
76 | Monofásico | 82954 | FALSE | FALSE | FALSE | Interbarras (Fase 3) | [9 empty] | Medida&Controlo | Operacional
77 | Trifásico | LEL 41573 | FALSE | FALSE | FALSE | 1TP | SIEMENS | 27000 | 6 | 63 |  | 63 | 1992-01-01 | NYNAS NYTRO 11 EN | 8.3 | Principal | Operacional | 4.4 | 1.9 | 4.3 | ONAF (Oil Natural Air Forced)
78 | Trifásico | 89559 | FALSE | FALSE | FALSE | Reserva TP / 1TP AR | ABB | 45000 | 10 | 165 |  | 165 | 2007-01-01 | NYNAS NYTRO TAURUS | 17.95 | Principal | Operacional | 6.274 | 3.217 | 5.49 | ONAF (Oil Natural Air Forced)
79 | Trifásico | 99502 | FALSE | FALSE | TRUE | 2TP | SIEMENS | 45000 | 10 | 165 |  | 165 | 1963-01-01 | NYNAS NYTRO 11 EN | 15.7 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
80 | Trifásico | 99503 | TRUE | FALSE | TRUE | 1TP (AR) / Reserva TP | SIEMENS | 45000 | 10 | 165 |  | 165 | 1963-01-01 | NYNAS NYTRO 11 EN | 15.7 | Reserva | NOperacional |  |  |  | ONAF (Oil Natural Air Forced)
81 | Trifásico | 4422 | FALSE | FALSE | FALSE | TS1 | EFACEC | 1000 | 0.4 | 10 |  | 10 | 1964-01-01 |  |  | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
82 | Trifásico | 4421 | FALSE | FALSE | FALSE | TS2 | EFACEC | 1000 | 0.4 | 10 |  | 10 | 1964-01-01 |  |  | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
83 | Trifásico | 13088.19 | FALSE | FALSE | FALSE | TS3 | EFACEC | 630 | 0.4 | 15 |  | 15 | 1991-01-01 |  | 0.53 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
84 | Trifásico | 7269 | FALSE | FALSE | FALSE | TS PT3 | MOTRA | 100 | 0.4 | 15 |  | 15 | 1972-01-01 |  | 0.645 | Auxiliar | Operacional
85 | Trifásico | 18242 | FALSE | FALSE | FALSE | TS PT2 | EFACEC | 100 | 0.4 | 15 |  | 15 | 1977-01-01 |  |  | Auxiliar | Operacional
86 | Trifásico | C 10076 01 | FALSE | TRUE | FALSE | 1TP | EFACEC | 113000 | 12 | 160 |  | 160 | 2005-01-01 | NYNAS NYTRO 11 EN | 26 | Principal | Operacional | 6.7 | 5.94 | 3.09 | ONAF (Oil Natural Air Forced)
87 | Trifásico | C 10076 02 | FALSE | TRUE | FALSE | 2TP | EFACEC | 113000 | 12 | 160 |  | 160 | 2005-01-01 | NYNAS NYTRO 11 EN | 26 | Principal | Operacional | 6.7 | 5.94 | 3.09 | ONAF (Oil Natural Air Forced)
88 | Trifásico | 13750 1 | FALSE | FALSE | FALSE | TS1 | EFACEC | 160 | 0.4 | 15 |  | 15 | 2002-01-01 | NYNAS NYTRO 11 EN | 0.13 | Auxiliar | Operacional | 1.18 | 0.69 | 1.255 | ONAN (Oil Natural Air Natural)
89 | Trifásico | 13750 2 | FALSE | FALSE | FALSE | TS2 | EFACEC | 160 | 0.4 | 15 |  | 15 | 2002-01-01 | NYNAS NYTRO 11 EN | 0.13 | Auxiliar | Operacional | 1.18 | 0.69 | 1.255 | ONAN (Oil Natural Air Natural)
90 | Trifásico | 13751 | FALSE | FALSE | FALSE | TS3 | EFACEC | 1000 | 15 | 12 |  | 15 | 2002-01-01 | NYNAS NYTRO 11 EN | 0.38 | Auxiliar | Operacional | 1.9 | 1.16 | 1.695 | ONAN (Oil Natural Air Natural)
91 | Trifásico | 13752 | FALSE | FALSE | FALSE | TS4 | EFACEC | 800 | 0.4 | 15 |  | 15 | 2002-01-01 | NYNAS NYTRO 11 EN | 0.34 | Auxiliar | Operacional | 1.7 | 1.01 | 1.555 | ONAN (Oil Natural Air Natural)
92 | Trifásico (Fases Dissociadas) | S 0102 A | FALSE | TRUE | FALSE | 1TP | EFACEC | 465000 |  | 415 |  |  | 2015-01-01 |  |  | Principal | Operacional
93 | Trifásico (Fases Dissociadas) | S 0102 B | FALSE | TRUE | FALSE | 2TP | EFACEC | 465000 |  | 415 |  |  | 2015-01-01 |  |  | Principal | Operacional
94 | Trifásico | s/r | FALSE | FALSE | FALSE | Reserva TP | EFACEC | 155000 |  | 138 | [5 empty] | Reserva | NOperacional
95 | Trifásico | LEL 81901 | FALSE | FALSE | FALSE | 1TP | SIEMENS | 35000 | 10.25 | 158 |  | 158 | 2000-01-01 | NYNAS NYTRO 10 BN | 19.5 | Principal | Operacional | 4.97 | 2.72 | 3.88 | ONAF (Oil Natural Air Forced)
96 | Trifásico | LEL 81902 | FALSE | FALSE | FALSE | 2TP | SIEMENS | 35000 | 10.25 | 158 |  | 158 | 2000-01-01 | NYNAS NYTRO 10 BN | 19.5 | Principal | Operacional | 4.97 | 2.72 | 3.88 | ONAF (Oil Natural Air Forced)
97 | Trifásico | B 118926 | FALSE | FALSE | FALSE | TS3 | BBC | 800 | 0.4 | 10 |  | 10 | 1955-01-01 | SHELL DIALA D | 0.6 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
98 | Trifásico | B 118925 | FALSE | FALSE | FALSE | TS4 | BBC | 800 | 0.4 | 10 |  | 10 | 1955-01-01 | SHELL DIALA D | 0.6 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
99 | Trifásico | 13574 12 | FALSE | FALSE | FALSE | TS5 | EFACEC | 630 | 0.4 | 15 |  | 15 | 1992-01-01 | ESSO UNIVOLT N 52 |  | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
100 | Trifásico | 13088 9 | FALSE | FALSE | FALSE | TS6 | EFACEC | 630 | 0.4 | 15 |  | 15 | 1991-01-01 | ESSO UNIVOLT N 52 |  | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
101 | Trifásico | 7700 1 | TRUE | FALSE | FALSE | 1TP [2000] |  | 35000 | 10.25 | 158 |  | 158 |  |  |  | Principal | NOperacional
102 | Trifásico | 7700 2 | TRUE | FALSE | FALSE | 2TP [2000] |  | 35000 | 10.25 | 158 |  | 158 |  |  |  | Principal | NOperacional
103 | Trifásico | LEL 6830 | FALSE | FALSE | FALSE | 1TP | SIEMENS | 10000 | 4 | 30 |  | 30 | 1974-01-01 | SHELL DIALA D | 4.6 | Principal | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
104 | Trifásico | LEL 8310 | FALSE | FALSE | FALSE | TS1 | MOTRA | 400 | 0.4 | 30 |  | 30 | 1973-01-01 |  | 0.25 | Auxiliar | Operacional | 1.3 | 0.7 | 1.7
105 | Trifásico | 7802 | FALSE | FALSE | FALSE | TS PT Barragem | EFACEC | 500 | 0.4 | 15 |  | 15 |  |  |  | Auxiliar | Operacional | 0.85 | 0.5 | 1.18
106 | Trifásico | 72524 | FALSE | FALSE | FALSE | 4TP | BBC | 17500 | 6 | 130 |  | 130 | 1944-01-01 | SHELL DIALA D | 13.3 | Principal | Operacional | 5.5 | 2.5 | 4.1 | OFWF (Oil Forced Water Forced)
107 | Trifásico | 8275983 | FALSE | FALSE | FALSE | 3TP | BBC | 17500 | 6 | 130 |  | 130 | 1932-01-01 | SHELL DIALA D | 18.5 | Principal | Operacional | 4 | 2.6 | 5.5 | OFWF (Oil Forced Water Forced)
108 | Monofásico | 8976929 | FALSE | FALSE | FALSE | 5TP | GENERAL ELECTRIC | 13330 | 6 | 130 |  | 130 | 1951-01-01 | SHELL DIALA D | 32.7 | Principal | Operacional | 3 | 2.2 | 5 | OFWF (Oil Forced Water Forced)
109 | Monofásico | 8976930 | FALSE | FALSE | FALSE | 5TP | GENERAL ELECTRIC | 13330 | 6 | 130 |  | 130 | 1951-01-01 | SHELL DIALA D | 32.7 | Principal | Operacional | 3 | 2.2 | 5 | OFWF (Oil Forced Water Forced)
110 | Monofásico | 8976931 | FALSE | FALSE | FALSE | 5TP | GENERAL ELECTRIC | 13330 | 6 | 130 |  | 130 | 1951-01-01 | SHELL DIALA D | 32.7 | Principal | Operacional | 3 | 2.2 | 5 | OFWF (Oil Forced Water Forced)
111 | Trifásico | 3621 | FALSE | FALSE | FALSE | TS1 | EFACEC | 800 | 0.22 | 6 |  | 6 |  |  |  | Auxiliar | Operacional | 1.8 | 1 | 2.1 | ONAN (Oil Natural Air Natural)
112 | Trifásico | 35999 | FALSE | FALSE | FALSE | 1TP | OASA | 2700 | 4 | 15 |  | 15 | 1995-01-01 |  | 1.9 | Principal | Operacional | 2.32 | 2.14 | 2.33 | ONAN (Oil Natural Air Natural)
113 | Trifásico | 36000 | FALSE | FALSE | FALSE | 2TP | OASA | 4200 | 4 | 15 |  | 15 | 1995-01-01 | NYNAS NYTRO TAURUS | 1.6 | Principal | Operacional | 2.3 | 2.28 | 2.3 | ONAN (Oil Natural Air Natural)
114 | Trifásico | LEL 54166 | FALSE | FALSE | FALSE | 1TP | SIEMENS | 5000 | 2 | 15 |  | 15 | 1995-01-01 | SHELL DIALA D | 2.5 | Principal | Operacional | 2.65 | 2.55 | 2.57 | ONAN (Oil Natural Air Natural)
115 | Trifásico | 13004 C | FALSE | FALSE | FALSE | 1TP | EFACEC | 7500 | 2 | 60 |  | 60 | 1971-01-01 | NYNAS NYTRO TAURUS | 5.6 | Principal | Operacional | 3.45 | 2.07 | 3.4 | ONAN (Oil Natural Air Natural)
116 | Trifásico | 3558 | FALSE | FALSE | FALSE | 2TP | EFACEC | 7500 | 2 | 60 |  | 60 | 1959-01-01 | ESSO UNIVOLT N 52 | 6.5 | Principal | Operacional | 2.83 | 3.18 | 3.4 | ONAN (Oil Natural Air Natural)
117 | Trifásico | LEL 3692 | FALSE | FALSE | FALSE | Reserva TS | [9 empty] | Auxiliar | NOperacional
118 | Trifásico | 10704 | FALSE | FALSE | FALSE | 1TP | EFACEC | 4000 | 2 | 15 |  | 15 | 1996-01-01 |  | 1.3 | Principal | Operacional | 2.7 | 2.14 | 2.06 | ONAN (Oil Natural Air Natural)
119 | Trifásico | NB 119069 | FALSE | FALSE | FALSE | 1TP | BBC | 7500 | 4 | 60 |  | 60 | 1958-01-01 | ESSO UNIVOLT N 52 | 6.3 | Principal | Operacional | 3.3 | 2.9 | 3.4 | ONAN (Oil Natural Air Natural)
120 | Trifásico | B 70671 | FALSE | FALSE | FALSE | 2TP | BBC | 8000 | 4 | 60 |  | 60 | 1953-01-01 |  |  | Principal | Operacional | 3.6 | 3 | 3.4 | ONAN (Oil Natural Air Natural)
121 | Trifásico | B 69593 | FALSE | FALSE | FALSE | 1TS | BBC | 55 | 4 | 0.4 |  | 4 | 1942-01-01 |  |  | Auxiliar | Operacional | 0.9 | 0.95 | 0.6 | ONAN (Oil Natural Air Natural)
122 | Trifásico | B 69300 | FALSE | FALSE | FALSE | 2TS | BBC | 60 | 15 | 0.4 |  | 15 | 1942-01-01 |  |  | Auxiliar | Operacional | 1 | 1 | 0.8 | ONAN (Oil Natural Air Natural)
123 | Trifásico | 56328 | FALSE | FALSE | FALSE | 1TP | ABB | 2000 | 0.4 | 15 |  | 15 | 1995-01-01 |  | 1 | Principal | Operacional | 2.58 | 1.51 | 2.51 | ONAN (Oil Natural Air Natural)
124 | Trifásico | LEL 54166 | FALSE | FALSE | FALSE | 1/2TP | SIEMENS | 5000 |  | 15 |  |  | 1995-01-01 | SHELL DIALA D | 2.5 | Principal | Operacional
125 | Trifásico | 13538 | FALSE | FALSE | FALSE | 1/2TP | EFACEC | 1500 |  | 15 |  |  | 2002-01-01 |  | 0.8 | Principal | Operacional
126 | Monofásico | 13306 | FALSE | FALSE | TRUE | 1TP (Fase 1) | CGE | 23800 | 15 | 248 |  | 248 | 1959-01-01 | SHELL DIALA C | 16.5 | Principal | Operacional | 3.7 | 2.65 | 3.75 | ONAF (Oil Natural Air Forced)
127 | Monofásico | 13308 | FALSE | FALSE | TRUE | 1TP (Fase 2) | CGE | 23800 | 15 | 248 |  | 248 | 1959-01-01 | SHELL DIALA C | 16.5 | Principal | Operacional | 3.7 | 2.65 | 3.75 | ONAF (Oil Natural Air Forced)
128 | Monofásico | 13311 | FALSE | FALSE | TRUE | 1TP (Fase 3) | CGE | 23800 | 15 | 248 |  | 248 | 1959-01-01 | SHELL DIALA C | 16.5 | Principal | Operacional | 3.7 | 2.65 | 3.75 | ONAF (Oil Natural Air Forced)
129 | Monofásico | 13305 | FALSE | FALSE | TRUE | 2TP (Fase 1) | CGE | 23800 | 15 | 248 |  | 248 | 1959-01-01 | SHELL DIALA C | 16.5 | Principal | Operacional | 3.7 | 2.65 | 3.75 | ONAF (Oil Natural Air Forced)
130 | Monofásico | 13313 | FALSE | FALSE | TRUE | 2TP (Fase 2) | CGE | 23800 | 15 | 248 |  | 248 | 1959-01-01 | SHELL DIALA C | 16.5 | Principal | Operacional | 3.7 | 2.65 | 3.75 | ONAF (Oil Natural Air Forced)
131 | Monofásico | 13307 | FALSE | FALSE | TRUE | 2TP (Fase 3) | CGE | 23800 | 15 | 248 |  | 248 | 1959-01-01 | SHELL DIALA C | 16.5 | Principal | Operacional | 3.7 | 2.65 | 3.75 | ONAF (Oil Natural Air Forced)
132 | Monofásico | 13310 | FALSE | FALSE | TRUE | 3TP (Fase 1) | CGE | 23800 | 15 | 248 |  | 248 | 1959-01-01 | SHELL DIALA C | 16.5 | Principal | Operacional | 3.7 | 2.65 | 3.75 | ONAF (Oil Natural Air Forced)
133 | Monofásico | 13314 | FALSE | FALSE | TRUE | 3TP (Fase 2) | CGE | 23800 | 15 | 248 |  | 248 | 1959-01-01 | SHELL DIALA C | 16.5 | Principal | Operacional | 3.7 | 2.65 | 3.75 | ONAF (Oil Natural Air Forced)
134 | Monofásico | 13312 | FALSE | FALSE | TRUE | 3TP (Fase 3) | CGE | 23800 | 15 | 248 |  | 248 | 1959-01-01 | SHELL DIALA C | 16.5 | Principal | Operacional | 3.7 | 2.65 | 3.75 | ONAF (Oil Natural Air Forced)
135 | Monofásico | 13309 | FALSE | FALSE | FALSE | Reserva TP | CGE | 23800 | 15 | 248 |  | 248 | 1959-01-01 | SHELL DIALA C | 16.5 | Reserva | NOperacional | 3.7 | 2.65 | 3.75 | ONAF (Oil Natural Air Forced)
136 | Trifásico | 12823 | TRUE | FALSE | FALSE | 4TP [2016] | EFACEC | 220000 | 15 | 248 |  | 248 | 1995-01-01 | DIECKAN 1500 P | 35 | Principal | NOperacional | 5.8 | 2.81 | 4.78 | ONAF (Oil Natural Air Forced)
137 | Trifásico | 3138 | FALSE | FALSE | FALSE | TS4 | EFACEC | 1000 | 15 | 0.4 |  | 15 |  | SHELL DIALA D |  | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
138 | Trifásico | 3137 | FALSE | FALSE | FALSE | TS5 | EFACEC | 1000 | 15 | 0.4 |  | 15 |  | SHELL DIALA D |  | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
139 | Trifásico | 3696 | FALSE | FALSE | FALSE | TS6 Interligação | EFACEC | 1500 | 15 | 30 |  | 30 | 1959-01-01 | SHELL DIALA D |  | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
140 | Trifásico | 3695 | FALSE | FALSE | FALSE | TS7 | EFACEC | 1500 | 15 | 30 |  | 30 | 1959-01-01 | SHELL DIALA D |  | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
141 | Trifásico | N 408088 | FALSE | FALSE | FALSE | 4TP | TRAFO UNION | 216000 | 15 | 248 |  | 248 | 1995-01-01 | SHELL DIALA D | 52 | Principal | Operacional
142 | Monofásico | 19113 S | FALSE | FALSE | TRUE | 1TP (Fase 1) | EFACEC | 25000 | 15 | 244 |  | 244 | 1981-01-01 | NYNAS NYTRO TAURUS | 5.1 | Principal | Operacional | 2.35 | 2.03 | 3.8 | ONAF (Oil Natural Air Forced)
143 | Monofásico | S 11734 | FALSE | FALSE | TRUE | 1TP (Fase 2) | EFACEC | 25000 | 15 | 244 |  | 244 | 1985-01-01 | NYNAS NYTRO TAURUS | 6.5 | Principal | Operacional | 2.35 | 2.03 | 3.8 | ONAF (Oil Natural Air Forced)
144 | Monofásico | S 11810 | FALSE | FALSE | TRUE | 1TP (Fase 3) | EFACEC | 25000 | 15 | 244 |  | 244 | 1986-01-01 | NYNAS NYTRO TAURUS | 6.5 | Principal | Operacional | 2.35 | 2.03 | 3.8 | ONAF (Oil Natural Air Forced)
145 | Monofásico | S 11816 | FALSE | FALSE | TRUE | 2TP (Fase 1) | EFACEC | 25000 | 15 | 244 |  | 244 | 1988-01-01 | NYNAS NYTRO 11 EN | 6.5 | Principal | Operacional | 2.35 | 2.03 | 3.8 | ONAF (Oil Natural Air Forced)
146 | Monofásico | S 11923 | FALSE | FALSE | TRUE | 2TP (Fase 2) | EFACEC | 25000 | 15 | 244 |  | 244 | 1988-01-01 | NYNAS NYTRO 11 EN | 6.5 | Principal | Operacional | 2.35 | 2.03 | 3.8 | ONAF (Oil Natural Air Forced)
147 | Monofásico | S 11922 | FALSE | FALSE | TRUE | 2TP (Fase 3) | EFACEC | 25000 | 15 | 244 |  | 244 | 1988-01-01 | NYNAS NYTRO 11 EN | 6.5 | Principal | Operacional | 2.35 | 2.03 | 3.8 | ONAF (Oil Natural Air Forced)
148 | Monofásico | LEL 28913 | FALSE | FALSE | TRUE | 3TP (Fase 1) | SIEMENS | 25000 | 15 | 244 |  | 244 | 1987-01-01 | NYNAS NYTRO TAURUS | 9 | Principal | Operacional | 3.115 | 2.35 | 3.755 | ONAF (Oil Natural Air Forced)
149 | Monofásico | LEL 28912 | FALSE | FALSE | TRUE | 3TP (Fase 2) | SIEMENS | 25000 | 15 | 244 |  | 244 | 1987-01-01 | NYNAS NYTRO TAURUS | 9 | Principal | Operacional | 3.115 | 2.35 | 3.755 | ONAF (Oil Natural Air Forced)
150 | Monofásico | LEL 28911 | FALSE | FALSE | TRUE | 3TP (Fase 3) | SIEMENS | 25000 | 15 | 244 |  | 244 | 1987-01-01 | NYNAS NYTRO TAURUS | 9 | Principal | Operacional | 3.115 | 2.35 | 3.755 | ONAF (Oil Natural Air Forced)
151 | Monofásico | H 19888 | FALSE | FALSE | FALSE | Reserva TP | CEM | 25000 | 15 | 244 |  | 244 | 1956-01-01 | SHELL DIALA C | 14 | Reserva | NOperacional |  |  |  | ONAF (Oil Natural Air Forced)
152 | Trifásico (Fases Dissociadas) | S 0068 A | FALSE | TRUE | FALSE | 4TP | EFACEC | 278000 | 18 | 240 |  | 240 | 2010-01-01 | NYNAS NYTRO TAURUS | 41 | Principal | Operacional |  |  |  | ODWF (Oil Directed Water Forced)
153 | Trifásico | 2156 | FALSE | FALSE | FALSE | TS4 | ENAE | 1000 | 0.4 | 15 |  | 15 |  | SHELL DIALA D | 0.93 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
154 | Trifásico | 2157 | FALSE | FALSE | FALSE | TS5 | ENAE | 1000 | 0.4 | 15 |  | 15 |  | SHELL DIALA D | 0.93 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
155 | Trifásico | 8390 2 | FALSE | FALSE | FALSE | TS6 | SECHERON | 3000 | 30 | 15 |  | 30 | 1957-01-01 | SHELL DIALA D | 4.3 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
156 | Trifásico | 3481 | FALSE | FALSE | FALSE | TS7 | EFACEC | 10000 | 30 | 15 |  | 30 | 1959-01-01 | NYNAS NYTRO TAURUS | 12.5 | Auxiliar | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
157 | Monofásico | 5915 | FALSE | FALSE | FALSE | 1TP (Fase 1) | EFACEC | 29000 | 15 | 242 |  | 242 | 1963-01-01 | NYNAS NYTRO TAURUS | 9.5 | Principal | Operacional | 3.3 | 3.3 | 4.29 | ONAF (Oil Natural Air Forced)
158 | Monofásico | 5914 | FALSE | FALSE | FALSE | 1TP (Fase 2) | EFACEC | 29000 | 15 | 242 |  | 242 | 1963-01-01 | NYNAS NYTRO TAURUS | 9.5 | Principal | Operacional | 3.3 | 3.3 | 4.29 | ONAF (Oil Natural Air Forced)
159 | Monofásico | 5909 | FALSE | FALSE | FALSE | 1TP (Fase 3) | EFACEC | 29000 | 15 | 242 |  | 242 | 1963-01-01 | NYNAS NYTRO TAURUS | 9.5 | Principal | Operacional | 3.3 | 3.3 | 4.29 | ONAF (Oil Natural Air Forced)
160 | Monofásico | S 13140 | FALSE | FALSE | FALSE | 2TP (Fase 1) | EFACEC | 29000 | 15 | 242 |  | 242 | 1996-01-01 | NYNAS NYTRO 10 BN | 9.5 | Principal | Operacional | 3.3 | 3.3 | 4.29 | ONAF (Oil Natural Air Forced)
161 | Monofásico | S 13141 | FALSE | FALSE | FALSE | 2TP (Fase 2) | EFACEC | 29000 | 15 | 242 |  | 242 | 1996-01-01 | NYNAS NYTRO 10 BN | 9.5 | Principal | Operacional | 3.3 | 3.3 | 4.29 | ONAF (Oil Natural Air Forced)
162 | Monofásico | S 13142 | FALSE | FALSE | FALSE | 2TP (Fase 3) | EFACEC | 29000 | 15 | 242 |  | 242 | 1996-01-01 | NYNAS NYTRO 10 BN | 9.5 | Principal | Operacional | 3.3 | 3.3 | 4.29 | ONAF (Oil Natural Air Forced)
163 | Monofásico | 19184 S | FALSE | FALSE | FALSE | 2TP (Fase 1) |  |  | 15 | 242 |  | 242 |  |  |  | Principal | NOperacional
164 | Monofásico | 19185 S | FALSE | FALSE | FALSE | 2TP (Fase 2) |  |  | 15 | 242 |  | 242 |  |  |  | Principal | NOperacional
165 | Monofásico | 19186 S | FALSE | FALSE | FALSE | 2TP (Fase 3) |  |  | 15 | 242 |  | 242 |  |  |  | Principal | NOperacional
166 | Monofásico | 5913 | TRUE | FALSE | FALSE | 2TP (Fase 1) [1996] | EFACEC | 29000 | 15 | 242 |  | 242 |  |  |  | Principal | NOperacional
167 | Monofásico | 5907 | TRUE | FALSE | FALSE | 2TP (Fase 2) [1996] | EFACEC | 29000 | 15 | 242 |  | 242 |  |  |  | Principal | NOperacional
168 | Monofásico | 5906 | TRUE | FALSE | FALSE | 2TP (Fase 3) [1996] | EFACEC | 29000 | 15 | 242 |  | 242 |  |  |  | Principal | NOperacional
169 | Monofásico | 5912 | FALSE | FALSE | FALSE | 3TP (Fase 1) | EFACEC | 29000 | 15 | 242 |  | 242 | 1963-01-01 | NYNAS NYTRO TAURUS | 9.5 | Principal | Operacional | 3.3 | 3.3 | 4.29 | ONAF (Oil Natural Air Forced)
170 | Monofásico | 5911 | FALSE | FALSE | FALSE | 3TP (Fase 2) | EFACEC | 29000 | 15 | 242 |  | 242 | 1963-01-01 | NYNAS NYTRO TAURUS | 9.5 | Principal | Operacional | 3.3 | 3.3 | 4.29 | ONAF (Oil Natural Air Forced)
171 | Monofásico | 5910 | FALSE | FALSE | FALSE | 3TP (Fase 3) | EFACEC | 29000 | 15 | 242 |  | 242 | 1963-01-01 | NYNAS NYTRO TAURUS | 9.5 | Principal | Operacional | 3.3 | 3.3 | 4.29 | ONAF (Oil Natural Air Forced)
172 | Monofásico | 5908 | FALSE | FALSE | FALSE | Reserva TP | EFACEC | 29000 | 15 | 242 |  | 242 | 1963-01-01 | SONAP STO 10 | 9.5 | Reserva | NOperacional | 3.3 | 3.3 | 4.29 | ONAF (Oil Natural Air Forced)
173 | Trifásico (Fases Dissociadas) | S 0067 A | FALSE | FALSE | FALSE | 4TP | EFACEC | 212000 | 15 | 417 |  | 417 | 2010-01-01 | SHELL DIALA D | 63 | Principal | Operacional | 16 | 5.65 | 6.9 | ODAF (Oil Directed Air Forced)
174 | Trifásico | 2668 | FALSE | FALSE | FALSE | TS4 | EFACEC | 1000 | 0.4 | 15 |  | 15 | 1957-01-01 | SHELL DIALA D | 0.9 | Auxiliar | Operacional | 2.2 | 1.4 | 2.2 | ONAN (Oil Natural Air Natural)
175 | Trifásico | 2669 | FALSE | FALSE | FALSE | TS5 | EFACEC | 1000 | 0.4 | 15 |  | 15 | 1957-01-01 | SHELL DIALA D | 0.9 | Auxiliar | Operacional | 2.2 | 1.4 | 2.2 | ONAN (Oil Natural Air Natural)
176 | Trifásico | 8390 1 | FALSE | FALSE | FALSE | TS6 | EAFCEC | 3000 | 15 | 30 |  | 30 | 1957-01-01 | SHELL DIALA D | 4.3 | Auxiliar | Operacional | 3.7 | 2.1 | 3.5 | ONAN (Oil Natural Air Natural)
177 | Trifásico | 16641 S | FALSE | FALSE | FALSE | 1TP | EFACEC | 62000 | 10 | 240 |  | 240 | 1979-01-01 | NYNAS NYTRO 11 EN | 15.6 | Principal | Operacional | 4.2 | 3.45 | 2.48 | ONAF (Oil Natural Air Forced)
178 | Trifásico | 16640 S | TRUE | FALSE | FALSE | 2TP [2013] | EFACEC | 62000 | 10 | 240 |  | 240 | 1979-01-01 | NYNAS NYTRO 11 EN | 15.6 | Principal | NOperacional | 4.2 | 3.45 | 2.48 | ONAF (Oil Natural Air Forced)
179 | Trifásico | 16639 S | FALSE | FALSE | FALSE | 3TP | EFACEC | 62000 | 10 | 240 |  | 240 | 1979-01-01 | NYNAS NYTRO 11 EN | 15.6 | Principal | NOperacional | 4.2 | 3.45 | 2.48 | ONAF (Oil Natural Air Forced)
180 | Trifásico | S 13046 | FALSE | FALSE | FALSE | Reserva / 2TP (PN) |  | 80000 | 10 | 235 |  | 235 | 1995-01-01 | DIECKAN 1500 P | 15 | Principal | Operacional | 4.95 | 2.7 | 4.6 | ONAF (Oil Natural Air Forced)
181 | Trifásico | 13144 | FALSE | FALSE | FALSE | TS Eclusas | [9 empty] | Eclusas | Operacional
182 | Trifásico | 13737 S | FALSE | FALSE | FALSE | 1TP | EFACEC | 80000 | 10 | 240 |  | 240 | 1974-01-01 | ESSO UNIVOLT N 52 | 21 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
183 | Trifásico | 13736 S | FALSE | FALSE | FALSE | 2TP | EFACEC | 80000 | 10 | 240 |  | 240 | 1974-01-01 | NYNAS NYTRO 11 EN | 21 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
184 | Trifásico | 13738 S | FALSE | FALSE | FALSE | 3TP | EFACEC | 80000 | 10 | 240 |  | 240 | 1974-01-01 | NYNAS NYTRO 11 EN | 21 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
185 | Trifásico | C 11892 | FALSE | FALSE | FALSE | TS4 | EFACEC | 1000 | 0.4 | 10 |  | 10 | 1988-01-01 | ESSO UNIVOLT N 52 | 1.1 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
186 | Trifásico | 13055 C | FALSE | FALSE | FALSE | TS5 | EFACEC | 3500 | 10 | 30 |  | 30 | 1973-01-01 | ENERGOL JSA | 3.8 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
187 | Trifásico | 14279 | FALSE | FALSE | FALSE | TS6 | EFACEC | 1000 | 0.4 | 30 |  | 30 | 1973-01-01 | ENERGOL JSA | 3.8 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
188 | Trifásico | 862 | FALSE | FALSE | FALSE | TS7 | EFACEC | 315 | 0.4 | 30 |  | 30 |  |  |  | Auxiliar | Operacional
189 | Trifásico | 22633 | FALSE | FALSE | FALSE | Reserva TS | EFACEC | 1000 | 0.4 | 11 |  | 11 |  | ENERGOL JSA |  | Reserva | NOperacional |  |  |  | ONAN (Oil Natural Air Natural)
190 | Trifásico | C 10001 | FALSE | FALSE | FALSE | 1TP | SAVOISENNE | 40000 | 11 | 153 |  | 153 | 1962-01-01 | SONAP STO 10 | 9.5 | Principal | Operacional |  |  |  | OFAF (Oil Forced Air Forced)
191 | Trifásico | C 10000 | FALSE | FALSE | FALSE | 2TP | SAVOISENNE | 40000 | 11 | 153 |  | 153 | 1962-01-01 | SONAP STO 10 | 9.5 | Principal | Operacional |  |  |  | OFAF (Oil Forced Air Forced)
192 | Trifásico | 10400 S | FALSE | FALSE | FALSE | 4TP | EFACEC | 7500 | 30 | 150 |  | 150 | 1969-01-01 | NYNAS NYTRO TAURUS | 7.9 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
193 | Trifásico | 306299 | FALSE | FALSE | FALSE | TS1 | SAVOISENNE | 400 | 0.4 | 11 |  | 11 | 1961-01-01 | SONAP STO 10 | 0.368 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
194 | Trifásico | 306300 | FALSE | FALSE | FALSE | TS2 | SAVOISENNE | 400 | 0.4 | 11 |  | 11 | 1961-01-01 | SONAP STO 10 | 0.368 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
195 | Trifásico | 306298 | FALSE | FALSE | FALSE | TS3 | SAVOISENNE | 400 | 0.4 | 30 |  | 30 | 1961-01-01 | NYNAS NYTRO 11 EN | 0.62 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
196 | Trifásico | C 6500 | FALSE | FALSE | FALSE | Reserva TP | SAVOISENNE | 5000 | 30 | 150 |  | 150 |  |  |  | Reserva | NOperacional
197 | Trifásico | 10421 S | TRUE | FALSE | FALSE | 1TP | EFACEC | 58000 | 10 | 240 |  | 240 | 1971-01-01 | NYNAS NYTRO TAURUS | 16 | Principal | NOperacional |  |  |  | ONAF (Oil Natural Air Forced)
198 | Trifásico | S 0058 A | FALSE | FALSE | TRUE | 1TP |  |  | 10 | 240 |  | 240 |  |  |  | Principal | Operacional
199 | Trifásico | 10419 S | TRUE | FALSE | FALSE | 2TP | EFACEC | 58000 | 10 | 240 |  | 240 | 1971-01-01 | NYNAS NYTRO TAURUS | 16 | Principal | NOperacional |  |  |  | ONAF (Oil Natural Air Forced)
200 | Trifásico | S 0072 A | FALSE | FALSE | TRUE | 2TP |  |  | 10 | 240 |  | 240 |  |  |  | Principal | Operacional
201 | Trifásico | 10420 S | FALSE | FALSE | FALSE | 3TP | EFACEC | 58000 | 10 | 240 |  | 240 | 1971-01-01 | NYNAS NYTRO TAURUS | 16 | Principal | NOperacional | 3.27 | 2.6 | 4.4 | ODAF (Oil Directed Air Forced)
202 | Trifásico | S 0112 A | FALSE | FALSE | TRUE | 3TP |  |  | 10 | 235 |  | 235 |  |  |  | Principal | Operacional
204 | Trifásico | C 11891 | FALSE | FALSE | FALSE | TS4 | EFACEC | 1000 | 0.4 | 10 |  | 10 | 1988-01-01 | ESSO UNIVOLT N 52 | 4.15 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
205 | Trifásico | 10492 C | FALSE | FALSE | FALSE | TS5 | EFACEC | 3500 | 10 | 30 |  | 30 | 1971-01-01 | SHELL DIALA D | 3.8 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
206 | Trifásico | 11049 | FALSE | FALSE | FALSE | TS6 | EFACEC | 1000 | 0.4 | 30 |  | 30 | 1973-01-01 | SHELL DIALA D |  | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
207 | Trifásico | 1966 | FALSE | FALSE | FALSE | TS7 | ACEC | 500 | 0.4 | 30 |  | 30 |  | NYNAS NYTRO 11 EN |  | Eclusas | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
208 | Trifásico | 11050 | FALSE | FALSE | FALSE | Reserva TS | EFACEC | 630 | 0.4 | 10 |  | 10 |  | SHELL DIALA D |  | Reserva | NOperacional |  |  |  | ONAN (Oil Natural Air Natural)
209 | Trifásico | S 11896 | FALSE | FALSE | FALSE | Auto-transformador TC-RG | [9 empty] | Auxiliar | Operacional
210 | Trifásico | 7688 S | FALSE | TRUE | FALSE | 1TP | EFACEC | 67000 | 10 | 230 |  | 230 | 1969-01-01 | NYNAS NYTRO TAURUS | 18 | Principal | Operacional | 7.391 | 2.84 | 4.64 | ODWF (Oil Directed Water Forced)
211 | Trifásico | 7689 S | FALSE | TRUE | FALSE | 2TP | EFACEC | 67000 | 10 | 230 |  | 230 | 1969-01-01 | NYNAS NYTRO 11 EN | 18 | Principal | Operacional | 7.391 | 2.84 | 4.64 | ODWF (Oil Directed Water Forced)
212 | Trifásico | 7687 S | FALSE | TRUE | FALSE | 3TP | EFACEC | 67000 | 10 | 230 |  | 230 | 1969-01-01 | NYNAS NYTRO 11 EN | 18 | Principal | Operacional | 7.391 | 2.84 | 4.64 | ODWF (Oil Directed Water Forced)
213 | Trifásico | 7644 C | FALSE | TRUE | FALSE | TS5 | EAFCEC | 3500 | 10 | 30 |  | 30 | 1968-01-01 | SHELL DIALA D | 3.8 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
214 | Trifásico | 7645 C | FALSE | TRUE | FALSE | TS6 | EFACEC | 3500 | 10 | 30 |  | 30 | 1968-01-01 | SHELL DIALA D | 3.8 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
215 | Trifásico | 9037 | FALSE | TRUE | FALSE | TS7 | EFACEC | 1000 | 0.4 | 30 |  | 30 |  | SHELL DIALA D | 0.9 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
216 | Trifásico | 9781 | FALSE | FALSE | FALSE | TS8 | EFACEC | 250 | 0.4 | 30 |  | 30 |  |  |  | Eclusas | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
217 | Trifásico | LEL 28249 | FALSE | FALSE | FALSE | 1TP | SIEMENS | 90000 | 10 | 230 |  | 230 | 1987-01-01 | NYNAS NYTRO TAURUS | 23.4 | Principal | Operacional | 5.3 | 2.58 | 4.55 | ONAF (Oil Natural Air Forced)
218 | Trifásico | LEL 28250 | FALSE | FALSE | FALSE | 2TP | SIMENS | 90000 | 10 | 230 |  | 230 | 1987-01-01 | NYNAS NYTRO TAURUS | 23.4 | Principal | Operacional | 5.3 | 2.58 | 4.55 | ONAF (Oil Natural Air Forced)
219 | Trifásico | C 11818 | FALSE | FALSE | FALSE | TS1 | EFACEC | 1500 | 10 | 30 |  | 30 | 1986-01-01 |  | 2.2 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
220 | Trifásico | 19425 C | FALSE | TRUE | FALSE | 1TP | EFACEC | 40000 | 6 | 70 |  | 70 | 1983-01-01 | NYNAS NYTRO TAURUS | 9.6 | Principal | Operacional | 3.98 | 3.2 | 4.32 | ODWF (Oil Directed Water Forced)
221 | Trifásico | 19426 C | FALSE | TRUE | FALSE | 2TP | EFACEC | 40000 | 6 | 70 |  | 70 | 1983-01-01 | NYNAS NYTRO TAURUS | 9.6 | Principal | Operacional | 3.98 | 3.2 | 4.32 | ODWF (Oil Directed Water Forced)
222 | Trifásico | 19427 C | FALSE | TRUE | FALSE | 3TP | EFACEC | 40000 | 6 | 70 |  | 70 | 1983-01-01 | ESSO UNIVOLT N 52 | 9.6 | Principal | Operacional | 3.98 | 3.2 | 4.32 | ODWF (Oil Directed Water Forced)
223 | Trifásico | 19442 C | FALSE | TRUE | FALSE | TS4 | EFACEC | 1000 | 0.4 | 6 |  | 6 | 1984-01-01 | ESSO UNIVOLT N 52 | 1.2 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
224 | Trifásico | 19441 C | FALSE | TRUE | FALSE | TS5 | EFACEC | 1000 | 0.4 | 6 |  | 6 | 1984-01-01 | ESSO UNIVOLT N 52 | 1.2 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
225 | Trifásico | 13145 | FALSE | FALSE | FALSE | TS6 Eclusa | EFACEC | 400 | 0.4 | 6.6 |  | 6.6 | 1985-01-01 | ESSO UNIVOLT N 52 |  | Eclusas | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
226 | Trifásico | 10549 | FALSE | TRUE | FALSE | TS7 | EFACEC | 1000 | 6 | 15 |  | 15 | 1996-01-01 | ESSO UNIVOLT N 52 | 0.5 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
227 | Trifásico | 500536490 | FALSE | FALSE | FALSE | 1TP |  | 16000 | 5 | 60 |  | 60 | 2000-01-01 | NYNAS NYTRO 10 GBN | 7.9 | Principal | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
228 | Trifásico | 5824 | FALSE | FALSE | FALSE | 2/3TP |  | 16000 | 5 | 60 |  | 60 | 2000-01-01 | NYNAS NYTRO 10 GBN | 7.9 | Principal | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
229 | Trifásico | B 124415 | FALSE | FALSE | FALSE | Reserva | [9 empty] | Reserva | NOperacional
230 | Trifásico | LEL 8942 | TRUE | FALSE | FALSE | 1TP | [9 empty] | Principal | NOperacional
231 | Trifásico | B 45265 | TRUE | FALSE | FALSE | 3TP | [9 empty] | Principal | NOperacional
232 | Trifásico | 8665 | FALSE | FALSE | FALSE | 1/2TP |  | 4000 | 2 | 30 |  | 30 | 1998-01-01 |  | 2.153 | Principal | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
233 | Trifásico | C 11933 | FALSE | FALSE | FALSE | 1TP | EFACEC | 5000 | 6 | 15 |  | 15 | 1988-01-01 | NYNAS NYTRO 11 EN | 1.9 | Principal | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
234 | Trifásico | 10783 | FALSE | FALSE | FALSE | TS1 | EFACEC | 100 | 0.4 | 15 |  | 15 | 1989-01-01 |  |  | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
235 | Trifásico | C 12462 | FALSE | FALSE | FALSE | 1TP | EFACEC | 6500 | 6 | 30 |  | 30 | 1992-01-01 | NYNAS NYTRO TAURUS | 2.55 | Principal | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
236 | Trifásico | C 12430 | FALSE | FALSE | FALSE | 1TP | EFACEC | 5163 | 6 | 30 |  | 30 |  |  | 10.1 | Principal | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
237 | Trifásico | C 12431 | FALSE | FALSE | FALSE | 2TP | EFACEC | 5163 | 6 | 30 |  | 30 |  |  | 10.1 | Principal | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
238 | Trifásico | 13332 | FALSE | FALSE | FALSE | 3TP | EFACEC | 1400 | 6 | 30 |  | 30 |  |  | 4.09 | Principal | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
239 | Trifásico | 13331 | FALSE | FALSE | FALSE | TS1 | [9 empty] | Auxiliar | Operacional
240 | Trifásico | C 12855 | FALSE | FALSE | FALSE | 1/2TP | EFACEC | 10000 | 6 | 30 |  | 30 |  |  |  | Principal | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
241 | Trifásico | P11HB310-02 | FALSE | FALSE | FALSE | 1/2TP | ALSTOM | 12000 | 6 | 60 |  | 60 |  |  |  | Principal | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
242 | Trifásico | P11HB310-01 | FALSE | FALSE | FALSE | 1TP | ALSTOM | 10000 | 6 | 60 |  | 60 |  |  | 12.3 | Principal | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
243 | Trifásico | C 12834 | FALSE | FALSE | FALSE | 1TP | EFACEC | 5500 | 6 | 60 |  | 60 |  |  |  | Principal | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
244 | Trifásico | C 12835 | FALSE | FALSE | FALSE | 2TP | EFACEC | 5500 | 6 | 60 |  | 60 |  |  |  | Principal | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
245 | Trifásico | 116417 | FALSE | FALSE | FALSE | 1/2TP | INCOESA | 10000 | 6 | 60 |  | 60 | 1998-01-01 |  | 7.7 | Principal | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
246 | Trifásico | F001038 | FALSE | FALSE | FALSE | 1TP | [9 empty] | Principal | Operacional
247 | Trifásico | 3558 | FALSE | FALSE | FALSE | 2TP | [9 empty] | Principal | Operacional
248 | Trifásico | C-0508A | FALSE | FALSE | FALSE | 1TP | EFACEC | 20500 |  | 66 |  |  | 2014-01-01 | NYNAS NYTRO TAURUS | 7 | Principal | Operacional
249 | Trifásico | C-0507A | FALSE | FALSE | FALSE | 2TP | EFACEC | 20500 |  | 66 |  |  | 2014-01-01 | NYNAS NYTRO TAURUS | 7 | Principal | Operacional
250 | Trifásico (Fases Dissociadas) | S-0085B | FALSE | FALSE | FALSE | 1TP | EFACEC | 900000 |  | 235 |  |  | 2012-01-01 |  | 19.5 | Principal | Operacional
251 | Trifásico (Fases Dissociadas) | S-0085A | FALSE | FALSE | FALSE | 2TP | EFACEC | 900000 |  | 235 |  |  | 2012-01-01 |  | 19.5 | Principal | Operacional
252 | Trifásico | 13641 | FALSE | FALSE | FALSE | TS1 | [9 empty] | Auxiliar | Operacional
253 | Trifásico (Fases Dissociadas) | S 10020 02 | FALSE | FALSE | FALSE | 1TP | EFACEC | 150000 | 15 | 410 |  | 410 | 2002-01-01 | NYNAS NYTRO 11 EN | 23 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
254 | Trifásico (Fases Dissociadas) | S 10020 01 | FALSE | FALSE | FALSE | 2TP | EFACEC | 150000 | 15 | 410 |  | 410 | 2002-01-01 | NYNAS NYTRO 11 EN | 23 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
255 | Trifásico (Fases Dissociadas) | S 0082 A | FALSE | FALSE | FALSE | 1TP | EFACEC | 150000 | 15 | 415 |  | 415 | 2011-01-01 | NYNAS NYTRO TAURUS | 31 | Principal | Operacional | 4.5 | 4 | 2.9 | ONAF (Oil Natural Air Forced)
256 | Trifásico (Fases Dissociadas) | S 0082 B | FALSE | FALSE | FALSE | 2TP | EFACEC | 150000 | 15 | 415 |  | 415 | 2011-01-01 | NYNAS NYTRO TAURUS | 31 | Principal | Operacional | 4.5 | 4 | 2.9 | ONAF (Oil Natural Air Forced)
257 | Trifásico | LEL 41056 | FALSE | FALSE | FALSE | 1TP | SIEMENS | 40000 | 6.3 | 63 |  | 63 | 1992-01-01 | NYNAS NYTRO TAURUS | 9.35 | Principal | Operacional | 4.265 | 3.408 | 1.915 | ONAF (Oil Natural Air Forced)
258 | Monofásico | LEL 11144 | FALSE | FALSE | TRUE | 1TP (Fase 1) | SIEMENS | 36000 | 21.6 | 36 |  | 36 | 1978-01-01 | ESSO UNIVOLT N 62 | 13.5 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
259 | Monofásico | LEL 11145 | FALSE | FALSE | TRUE | 1TP (Fase 2) | SIEMENS | 36000 | 21.6 | 36 |  | 36 | 1978-01-01 | ESSO UNIVOLT N 62 | 13.5 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
260 | Monofásico | LEL 11143 | FALSE | FALSE | TRUE | 1TP (Fase 3) | SIEMENS | 36000 | 21.6 | 36 |  | 36 | 1978-01-01 | ESSO UNIVOLT N 62 | 13.5 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
261 | Monofásico | LEL 11146 | FALSE | FALSE | TRUE | 2TP (Fase 1) | SIEMENS | 36000 | 21.6 | 36 |  | 36 | 1979-01-01 | ESSO UNIVOLT N 62 | 13.5 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
262 | Monofásico | LEL 11147 | FALSE | FALSE | TRUE | 2TP (Fase 2) | SIEMENS | 36000 | 21.6 | 36 |  | 36 | 1979-01-01 | ESSO UNIVOLT N 62 | 13.5 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
263 | Monofásico | LEL 11148 | FALSE | FALSE | TRUE | 2TP (Fase 3) | SIEMENS | 36000 | 21.6 | 36 |  | 36 | 1979-01-01 | ESSO UNIVOLT N 62 | 13.5 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
264 | Monofásico | LEL 11149 | FALSE | FALSE | TRUE | 3TP (Fase 1) | SIEMENS | 36000 | 21.6 | 36 |  | 36 | 1979-01-01 | ESSO UNIVOLT N 62 | 13.5 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
265 | Monofásico | LEL 11152 | FALSE | FALSE | TRUE | 3TP (Fase 2) | SIEMENS | 36000 | 21.6 | 36 |  | 36 | 1979-01-01 | ESSO UNIVOLT N 62 | 13.5 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
266 | Monofásico | LEL 11150 | FALSE | FALSE | TRUE | 3TP (Fase 3) | SIEMENS | 36000 | 21.6 | 36 |  | 36 | 1979-01-01 | ESSO UNIVOLT N 62 | 13.5 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
267 | Monofásico | LEL 11151 | FALSE | FALSE | FALSE | Reserva | SIEMENS | 36000 | 21.3 | 36 |  | 36 | 1979-01-01 | ESSO UNIVOLT N 62 | 13.5 | Reserva | NOperacional |  |  |  | ONAF (Oil Natural Air Forced)
268 | Trifásico | 12987 | FALSE | FALSE | FALSE | TS1 | SIEMENS | 3500 | 12 | 30 |  | 30 | 1978-01-01 | ESSO UNIVOLT N 62 | 5 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
269 | Trifásico | 19292 C | FALSE | TRUE | FALSE | 1TP | EFACEC | 26300 | 3.5 | 66 | 3.5 | 66 | 1980-01-01 | NYNAS NYTRO 11 EN | 11 | Principal | Operacional | 4.2 | 3.41 | 1.92 | ONAF (Oil Natural Air Forced)
270 | Trifásico | LEL 13884 | FALSE | TRUE | FALSE | TS1 | SIEMENS | 3500 | 30 | 63 |  | 63 | 1978-01-01 | ESSO UNIVOLT N 62 | 4.6 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
271 | Trifásico | LEL 16637 | FALSE | TRUE | FALSE | TS2 | SIEMENS | 500 | 0.4 | 30 | 0.231 | 30 | 1980-01-01 | ESSO UNIVOLT N 62 | 0.395 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
272 | Trifásico | LEL 16638 | FALSE | TRUE | FALSE | TS3 | SIEMENS | 500 | 0.4 | 30 | 0.231 | 30 | 1980-01-01 | ESSO UNIVOLT N 62 | 0.49 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
273 | Trifásico | 54145 | TRUE | FALSE | FALSE | 2TP [2007]Reserva | SIEMENS | 28000 | 6 | 165 |  | 165 | 1954-01-01 | NYNAS NYTRO 11 EN | 11.5 | Principal | NOperacional |  |  |  | ODWF (Oil Directed Water Forced)
274 | Trifásico | 54146 | FALSE | FALSE | TRUE | 1TP | SIEMENS | 28000 | 6 | 165 |  | 165 | 1954-01-01 | ESSO UNIVOLT N 62 | 11.5 | Principal | Operacional |  |  |  | OFWF (Oil Forced Water Forced)
275 | Trifásico | 89560 | FALSE | FALSE | TRUE | 2TP | ABB | 28000 | 6 | 165 |  | 165 | 2007-01-01 | NYNAS NYTRO TAURUS | 14.4 | Principal | Operacional | 5.27 | 3.499 | 5.152 | ONAF (Oil Natural Air Forced)
276 | Trifásico | IB 4503 15 | FALSE | FALSE | TRUE | 1TP | ENGL. ELEC | 61000 | 15.5 | 165 |  | 165 | 1954-01-01 | SHELL DIALA D | 37.7 | Principal | Operacional |  |  |  | OFWF (Oil Forced Water Forced)
277 | Trifásico | IB 4503 16 | FALSE | FALSE | TRUE | 2TP | ENGL. ELEC | 61000 | 15.5 | 165 |  | 165 | 1954-01-01 | SHELL DIALA D | 37.7 | Principal | Operacional |  |  |  | OFWF (Oil Forced Water Forced)
278 | Trifásico | LEL 19632 | FALSE | FALSE | FALSE | Reserva | SIEMENS | 61000 | 15.5 | 175 |  | 175 | 1982-01-01 | NYNAS NYTRO 11 EN | 21 | Reserva | NOperacional | 5.31 | 3.87 | 3.585 | ONAF (Oil Natural Air Forced)
279 | Trifásico | IB 4503 30 | FALSE | FALSE | FALSE | Auxiliares Exterior | [9 empty] | Auxiliar | Operacional
280 | Trifásico | T 432746 | TRUE | FALSE | FALSE | 1TP [2004] | [9 empty] | Principal | NOperacional
281 | Trifásico | T 432745 | TRUE | FALSE | FALSE | 2TP [2004] | [9 empty] | Principal | NOperacional
282 | Trifásico | C 10083 A | FALSE | FALSE | FALSE | 1TP | EFACEC | 64000 | 15 | 230 |  | 230 | 2004-01-01 | NYNAS NYTRO 11 EN | 24.5 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
283 | Trifásico | C 10084 A | FALSE | FALSE | FALSE | 2TP | EFACEC | 64000 | 15 | 230 |  | 230 | 2004-01-01 | NYNAS NYTRO 11 EN | 24.5 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
284 | Trifásico | C 10085 A | FALSE | FALSE | FALSE | 3TP | EFACEC | 64000 | 15 | 230 |  | 230 | 2004-01-01 | NYNAS NYTRO 11 EN | 24.5 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
285 | Trifásico | 19418 C | FALSE | FALSE | FALSE | TS1 | EFACEC | 400 | 0.4 | 10 |  | 10 | 1983-01-01 | SHELL DIALA D | 1.68 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
286 | Trifásico | 19419 C | FALSE | FALSE | FALSE | TS2 | EFACEC | 1000 | 0.4 | 10 |  | 10 | 1983-01-01 | SHELL DIALA D | 1.84 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
287 | Trifásico | LEL 19632 | FALSE | FALSE | FALSE | Reserva | [9 empty] | Reserva | NOperacional
288 | Trifásico | C 12441 | FALSE | FALSE | TRUE | 1TP | EFACEC | 20000 | 6 | 63.03 |  | 63.03 | 1992-01-01 | SHELL DIALA D | 6 | Principal | Operacional | 3.75 | 3.08 | 4.08 | ONAF (Oil Natural Air Forced)
289 | Trifásico | C 12442 | FALSE | FALSE | FALSE | 2TP | EFACEC | 30000 | 6.3 | 63 |  | 63 | 1992-01-01 | SHELL DIALA D | 8.1 | Principal | Operacional | 4.1 | 3.18 | 4.29 | ONAF (Oil Natural Air Forced)
290 | Trifásico | 10437 | FALSE | FALSE | FALSE | 1TP | EFACEC | 50000 | 10 | 165.5 |  | 165.5 | 1972-01-01 | NYNAS NYTRO 11 EN | 14 | Principal | Operacional | 3.3 | 3.3 | 4.29 | ONAF (Oil Natural Air Forced)
291 | Trifásico | 10439 S | FALSE | FALSE | FALSE | 2TP | EFACEC | 50000 | 10 | 165.5 |  | 165.5 | 1972-01-01 | NYNAS NYTRO TAURUS | 14 | Principal | Operacional | 3.3 | 3.3 | 4.29 | ONAF (Oil Natural Air Forced)
292 | Trifásico | 10438 S | FALSE | FALSE | FALSE | 3TP | EFACEC | 50000 | 10 | 165.5 |  | 165.5 | 1972-01-01 | NYNAS NYTRO TAURUS | 14 | Principal | Operacional | 3.3 | 3.3 | 4.29 | ONAF (Oil Natural Air Forced)
293 | Trifásico | 13018 C | FALSE | FALSE | FALSE | 1TS | EFACEC | 1250 | 0.4 | 10 |  | 10 | 1972-01-01 | SHELL DIALA D | 3.3 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
294 | Trifásico | 13017 C | FALSE | FALSE | FALSE | 2TS | EFACEC | 1250 | 0.4 | 10 |  | 10 | 1972-01-01 | SHELL DIALA D | 3.3 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
295 | Trifásico | P11HC346 | FALSE | TRUE | FALSE | 1TP | UNINDO | 11200 | 6 | 60 |  | 60 | 2004-01-01 | NYNAS NYTRO 10 GBN | 11.6 | Principal | Operacional | 4.97 | 3.065 | 3.97 | ONAF (Oil Natural Air Forced)
296 | Trifásico | C-0618A | FALSE | FALSE | FALSE | 1TP | EFACEC | 10800 | 52 | 86 |  | 86 | 2014-01-01 | NYNAS NYTRO TAURUS | 16.2 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
297 | Trifásico | 19291 C | FALSE | FALSE | TRUE | 1/2TP | EFACEC | 22000 | 6.35 | 63.6 |  | 63.6 | 1980-01-01 | NYNAS NYTRO TAURUS | 8.5 | Principal | Operacional | 4.45 | 4.16 | 4.4 | ONAF (Oil Natural Air Forced)
298 | Trifásico | 19290 C | FALSE | FALSE | TRUE | 3/4TP | EFACEC | 22000 | 6.35 | 63.6 |  | 63.6 | 1979-01-01 | NYNAS NYTRO TAURUS | 8.5 | Principal | Operacional | 4.45 | 4.16 | 4.4 | ONAF (Oil Natural Air Forced)
299 | Trifásico | F001547.01 | FALSE | FALSE | FALSE | 5TP | EFACEC | 20000 | 6.35 | 63.6 |  | 63.6 | 2014-01-01 | NYNAS NYTRO TAURUS | 6 | Principal | Operacional | 4.76 | 3.26 | 4.26 | ONAF (Oil Natural Air Forced)
300 | Trifásico | C 12728 | FALSE | FALSE | TRUE | 6TP | EFACEC | 36300 | 6.35 | 63.53 |  | 63.53 | 1994-01-01 | TECHNOL | 10.9 | Principal | Operacional | 5.1 | 4.07 | 4.68 | ONAF (Oil Natural Air Forced)
301 | Trifásico | 19282 C | TRUE | FALSE | FALSE | 6TP (BV) / Reserva | EFACEC | 36300 | 6.35 | 63.6 |  | 63.6 | 1979-01-01 | NYNAS NYTRO 11 EN | 11.9 | Reserva | NOperacional | 5.03 | 2.88 | 4.64 | ONAF (Oil Natural Air Forced)
302 | Trifásico | 19304 C | TRUE | FALSE | FALSE | 5TP (BV) / Reserva | EFACEC | 20000 | 6.25 | 63 |  | 63 | 1980-01-01 |  | 11.9 | Reserva | NOperacional |  |  |  | ONAF (Oil Natural Air Forced)
303 | Trifásico | LEL 16034 | FALSE | FALSE | FALSE | TS6 | [9 empty] | Auxiliar | Operacional
304 | Trifásico | 11692 | FALSE | FALSE | FALSE | TS6 EXC | [9 empty] | Auxiliar | Operacional
305 | Trifásico | 10233 | FALSE | FALSE | FALSE | 1TP | EFACEC | 1500 | 6.3 | 30 |  | 30 | 1988-01-01 |  | 0.9 | Principal | Operacional | 2.3 | 1.12 | 2.18 | ONAN (Oil Natural Air Natural)
306 | Trifásico | 10243 1 | FALSE | FALSE | FALSE | TS1 | EFACEC | 50 | 0.4 | 30 |  | 30 | 1988-01-01 |  | 0.12 | Auxiliar | Operacional | 0.98 | 0.85 | 1.26 | ONAN (Oil Natural Air Natural)
307 | Trifásico | 10234 | FALSE | FALSE | FALSE | 1TP | EFACEC | 2000 | 6.3 | 30 |  | 30 | 1988-01-01 |  | 1.03 | Principal | Operacional | 2.63 | 1.14 | 2.225 | ONAN (Oil Natural Air Natural)
308 | Trifásico | 10243 2 | FALSE | FALSE | FALSE | TS1 | EFACEC | 50 | 0.4 | 30 |  | 30 | 1988-01-01 |  | 0.12 | Auxiliar | Operacional | 0.98 | 0.85 | 1.26 | ONAN (Oil Natural Air Natural)
309 | Trifásico | C 11903 | FALSE | FALSE | FALSE | 1TP | EFACEC | 2500 | 6.3 | 63.02 |  | 63.02 | 1988-01-01 |  | 2.5 | Principal | Operacional | 3.09 | 1.96 | 3.17 | ONAN (Oil Natural Air Natural)
310 | Trifásico | 13170 C | FALSE | FALSE | FALSE | 1TP | EFACEC | 16000 | 4 | 66.5 |  | 66.5 | 1977-01-01 | NYNAS NYTRO TAURUS | 6 | Principal | Operacional | 2.83 | 3.7 | 4.12 | ONAN (Oil Natural Air Natural)
311 | Trifásico | LEL 7012 | FALSE | FALSE | FALSE | 1TP | SIEMENS | 16000 | 4 | 67.6 |  | 67.6 | 1972-01-01 | NYNAS NYTRO 11 EN | 5.6 | Principal | Operacional | 4.085 | 2.355 | 4.253 | ONAF (Oil Natural Air Forced)
312 | Trifásico | 3415 | FALSE | FALSE | FALSE | Reserva | EFACEC | 11000 | 4 | 70 |  | 70 | 1959-01-01 | NYNAS NYTRO TAURUS | 7.7 | Reserva | NOperacional
313 | Trifásico | C 12867 | FALSE | FALSE | FALSE | 1/2TP | EFACEC | 15000 | 4 | 66.5 |  | 66.5 | 1994-01-01 | ESSO UNIVOLT N 52 | 5.5 | Principal | Operacional | 3.9 | 3.1 | 4.2 | ONAN (Oil Natural Air Natural)
314 | Trifásico | T 94172 | FALSE | FALSE | FALSE | TS1 | SIEMENS | 3700 | 0.4 | 4.2 |  | 4.2 |  |  |  | Auxiliar | Operacional | 1 | 0.4 | 1.5
315 | Trifásico | 56312 | FALSE | FALSE | FALSE | 1TP | ABB | 10000 | 4 | 66 |  | 66 | 1995-01-01 | UNE 21320 | 4.7 | Principal | Operacional | 4.02 | 2.43 | 4.385 | OFAF (Oil Forced Air Forced)
316 | Trifásico | 56311 | FALSE | FALSE | FALSE | 2TP | ABB | 15000 | 4 | 66 |  | 66 | 1995-01-01 | UNE 21320 | 5.45 | Principal | Operacional | 3.97 | 2.48 | 4.54 | OFAF (Oil Forced Air Forced)
317 | Trifásico | 61035 | FALSE | FALSE | FALSE | 1TP | SNT-SFT | 15000 | 4 | 66 |  | 66 | 1999-01-01 | ESSO P 60 | 7.6 | Principal | Operacional | 4.73 | 2.78 | 3.6 | ONAF (Oil Natural Air Forced)
318 | Trifásico | 61036 | FALSE | FALSE | FALSE | 2TP | SNT-SFT | 15000 | 4 | 66 |  | 66 | 1999-01-01 | ESSO P 60 | 7.6 | Principal | Operacional | 4.73 | 2.78 | 3.6 | ONAF (Oil Natural Air Forced)
319 | Trifásico | A 42595 | FALSE | FALSE | FALSE | 1TP | SAVOISIENNE | 8000 | 6 | 63.7 |  | 63.7 | 1939-01-01 | NYNAS NYTRO 11 EN | 10.55 | Principal | Operacional | 5.5 | 3 | 4.5 | ONAN (Oil Natural Air Natural)
320 | Trifásico | A 42593 | FALSE | FALSE | FALSE | 2TP | SAVOISIENNE | 8000 | 6 | 63.7 |  | 63.7 | 1939-01-01 | NYNAS NYTRO 11 EN | 10.55 | Principal | Operacional | 5.5 | 3 | 4.5 | ONAN (Oil Natural Air Natural)
321 | Trifásico | A 42591 | FALSE | FALSE | FALSE | 3TP | SAVOISIENNE | 8000 | 6 | 63.7 |  | 63.7 | 1939-01-01 | NYNAS NYTRO TAURUS | 10.55 | Principal | Operacional | 5.5 | 3 | 4.5 | ONAN (Oil Natural Air Natural)
322 | Trifásico | 4799 | FALSE | FALSE | FALSE | 4TP | EFACEC | 10000 | 6 | 63.7 |  | 63.7 | 1961-01-01 | SHELL DIALA D | 6.3 | Principal | Operacional | 3.5 | 3 | 4 | ONAN (Oil Natural Air Natural)
323 | Trifásico | 2665 | FALSE | FALSE | FALSE | TS1 | EFACEC | 200 | 0.4 | 6 |  | 6 | 1957-01-01 | SHELL DIALA D | 0.7 | Auxiliar | Operacional | 1.4 | 1.5 | 0.75 | ONAN (Oil Natural Air Natural)
324 | Trifásico | LEL 8588 | FALSE | FALSE | FALSE | 1TP | SIEMENS | 630 | 0.4 | 15 |  | 15 | 1973-01-01 |  | 0.495 | Principal | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
325 | Trifásico | LEL 8585 | FALSE | FALSE | FALSE | 2TP | SIEMENS | 630 | 0.4 | 15 |  | 15 | 1973-01-01 |  | 0.495 | Principal | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
326 | Trifásico | 708958 | FALSE | FALSE | FALSE | 1TP | ASEA | 400 | 3.77 | 16.5 |  | 16.5 |  |  |  | Principal | Operacional
327 | Trifásico | A 78549 | FALSE | FALSE | FALSE | 1TP | SAVOISIENNE | 315 | 0.397 | 15 |  | 15 | 1951-01-01 |  |  | Principal | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
328 | Trifásico | LEL 3124 | FALSE | FALSE | FALSE | 1TP | SIEMENS | 200 | 0.231 | 15 |  | 15 | 1965-01-01 | SHELL DIALA D | 0.225 | Principal | Operacional | 1.2 | 0.7 | 1.6 | ONAN (Oil Natural Air Natural)
329 | Trifásico | 19029 | FALSE | FALSE | FALSE | 2TP | EFACEC | 200 | 0.4 | 15 |  | 15 | 1977-01-01 | SHELL DIALA D | 0.22 | Principal | Operacional | 1.2 | 0.7 | 1.5 | ONAN (Oil Natural Air Natural)
330 | Trifásico | 439/802 | FALSE | FALSE | FALSE | TS1 | EFACEC | 30 | 0.4 | 15 |  | 15 | 1965-01-01 |  | 0.07 | Auxiliar | Operacional | 0.8 | 0.5 | 1.1 | ONAN (Oil Natural Air Natural)
331 | Trifásico | LEL 91771 | FALSE | FALSE | FALSE | TS1 | SIEMENS | 50 | 0.4 | 15 |  | 15 | 2002-01-01 | NYNAS NYTRO 10 BN | 0.1 | Auxiliar | Operacional | 0.9 | 0.55 | 1.3
332 | Trifásico | LEL 38407 | FALSE | FALSE | FALSE | 1TP | SIEMENS | 1000 | 0.231 | 15 |  | 15 | 1990-01-01 | NYNAS NYTRO 11 EN | 0.53 | Principal | Operacional | 1.745 | 0.99 | 2.195 | ONAN (Oil Natural Air Natural)
333 | Trifásico | 13216514 | FALSE | FALSE | FALSE | 1TP | ABB | 3000 | 6 | 15 |  | 15 | 1991-01-01 | SHELL DIALA D | 1.2 | Principal | Operacional | 2.25 | 1.28 | 2.2 | ONAN (Oil Natural Air Natural)
334 | Trifásico | 181404-01 | FALSE | FALSE | FALSE | TS1 | France | 50 | 0.4 | 15 |  | 15 | 1991-01-01 |  | 0.06 | Auxiliar | Operacional | 0.74 | 0.68 | 1.04 | ONAN (Oil Natural Air Natural)
335 | Trifásico | LEL 71210 | FALSE | FALSE | FALSE | 1TP | SIEMENS | 3200 | 6 | 15 |  | 15 | 1998-01-01 | NYNAS NYTRO 10 BN | 1.22 | Principal | Operacional | 2.6 | 1.4 | 2.7 | ONAN (Oil Natural Air Natural)
336 | Trifásico | 300489 | FALSE | FALSE | FALSE | TS1 | MERLIN GERIN | 25 | 0.4 | 15 |  | 15 | 1998-01-01 |  | 0.11 | Auxiliar | Operacional | 1.15 | 0.7 | 0.9 | ONAN (Oil Natural Air Natural)
337 | Trifásico | 122763 | FALSE | FALSE | FALSE | Reserva TP | INCOESA | 11000 | 6 | 63 |  | 63 | 2000-01-01 |  | 6.66 | Reserva | NOperacional |  |  |  | ONAN (Oil Natural Air Natural)
338 | Trifásico | 13091 C | FALSE | FALSE | FALSE | 1TP | EFACEC | 10000 | 6.3 | 63 |  | 63 | 1974-01-01 | NYNAS NYTRO 11 EN | 10.1 | Principal | Operacional | 3.95 | 4.57 | 4.22 | ONAN (Oil Natural Air Natural)
339 | Trifásico | 13773 | FALSE | FALSE | FALSE | TS1 | EFACEC | 100 | 0.42 | 6 |  | 6 | 2002-01-01 |  | 0.13 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
340 | Trifásico | 4462 | FALSE | FALSE | FALSE | TP1 | EFACEC | 1500 | 6 | 40 |  | 40 | 1961-01-01 | NYNAS NYTRO TAURUS | 2.2 | Principal | Operacional | 2.85 | 1.6 | 2.9 | ONAN (Oil Natural Air Natural)
341 | Trifásico | 23450 | FALSE | FALSE | FALSE | 1TP | ASEA | 3000 | 6 | 40 |  | 40 |  | NYNAS NYTRO TAURUS | 3.85 | Principal | Operacional | 3.4 | 1.9 | 4 | ONAN (Oil Natural Air Natural)
342 | Trifásico | C 11960 | FALSE | FALSE | FALSE | 1TP | EFACEC | 5000 | 6 | 40 |  | 40 | 1989-01-01 | NYNAS NYTRO TAURUS | 3 | Principal | Operacional | 2.85 | 2.8 | 2.9 | ONAN (Oil Natural Air Natural)
343 | Trifásico | 13123 C | FALSE | FALSE | FALSE | 1TP | EFACEC | 1500 | 6 | 40 |  | 40 | 1976-01-01 | NYNAS NYTRO TAURUS | 1.3 | Principal | Operacional | 2.25 | 1.5 | 2.75 | ONAN (Oil Natural Air Natural)
344 | Trifásico | 13197 C | FALSE | FALSE | FALSE | 1TP | EFACEC | 16000 | 40 | 60 |  | 60 | 1978-01-01 |  | 11.9 | Principal | Operacional | 4.3 | 3.7 | 4.6 | ONAN (Oil Natural Air Natural)
345 | Trifásico | F001446.01 | FALSE | FALSE | FALSE | 1TP | EFACEC | 9000 | 6 | 15 |  | 15 | 2014-01-01 | NYNAS NYTRO TAURUS | 3.5 | Principal | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
346 | Trifásico | T 432744 | FALSE | FALSE | FALSE | Reserva | [9 empty] | Reserva | NOperacional
347 | Trifásico (Fases Dissociadas) | S0048 A | FALSE | FALSE | FALSE | 1TP | EFACEC | 528000 | 19 | 410 |  | 410 | 2008-01-01 | NYNAS NYTRO TAURUS | 93.5 | Principal | Operacional |  |  |  | ODAF (Oil Directed Air Forced)
348 | Trifásico (Fases Dissociadas) | S0048 B | FALSE | FALSE | FALSE | 2TP | EFACEC | 528000 | 19 | 410 |  | 410 | 2008-01-01 | NYNAS NYTRO TAURUS | 93.5 | Principal | Operacional |  |  |  | ODAF (Oil Directed Air Forced)
349 | Trifásico | L 001697 01 | FALSE | FALSE | FALSE | TS1 | EFACEC | 24000 | 6.9 | 19 |  | 19 | 2008-01-01 | NYNAS NYTRO TAURUS | 8 | Auxiliar | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
350 | Trifásico | L 001697 02 | FALSE | FALSE | FALSE | TS2 | EFACEC | 24000 | 6.9 | 19 |  | 19 | 2008-01-01 | NYNAS NYTRO TAURUS | 8 | Auxiliar | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
351 | Monofásico | 0806348/6 | FALSE | FALSE | FALSE | 2TT (Fase 1) Ld REN | [9 empty] | Medida&Controlo | Operacional
352 | Monofásico | 0806348/7 | FALSE | FALSE | FALSE | 2TT (Fase 1) Ld REN | [9 empty] | Medida&Controlo | Operacional
353 | Monofásico | 0806348/8 | FALSE | FALSE | FALSE | 2TT (Fase 3) Ld REN | [9 empty] | Medida&Controlo | Operacional
354 | Monofásico | 0806350/4 | FALSE | FALSE | FALSE | 2TI (Fase 1) | [9 empty] | Medida&Controlo | Operacional
355 | Monofásico | 0806350/5 | FALSE | FALSE | FALSE | 2TI (Fase 2) | [9 empty] | Medida&Controlo | Operacional
356 | Monofásico | 0806350/6 | FALSE | FALSE | FALSE | 2TI (Fase 3) | [9 empty] | Medida&Controlo | Operacional
357 | Monofásico | 0806348/3 | FALSE | FALSE | FALSE | 1TT (Fase 1) Ld REN | [9 empty] | Medida&Controlo | Operacional
358 | Monofásico | 0806348/4 | FALSE | FALSE | FALSE | 1TT (Fase 2) Ld REN | [9 empty] | Medida&Controlo | Operacional
359 | Monofásico | 0806348/5 | FALSE | FALSE | FALSE | 1TT (Fase 3) Ld REN | [9 empty] | Medida&Controlo | Operacional
360 | Monofásico | 0806350/1 | FALSE | FALSE | FALSE | 1TI (Fase 1) | [9 empty] | Medida&Controlo | Operacional
361 | Monofásico | 0806350/2 | FALSE | FALSE | FALSE | 1TI (Fase 2) | [9 empty] | Medida&Controlo | Operacional
362 | Monofásico | 0806350/3 | FALSE | FALSE | FALSE | 1TI (Fase 3) | [9 empty] | Medida&Controlo | Operacional
363 | Monofásico | 0806348/2 | FALSE | FALSE | FALSE | 2TT (Fase 2) Ld TR | [9 empty] | Medida&Controlo | Operacional
364 | Monofásico | 11011882/1 | FALSE | FALSE | FALSE | 1TT (Fase 3) Ld TR | [9 empty] | Medida&Controlo | Operacional
365 | Monofásico | 0806348/1 | FALSE | FALSE | FALSE | Painel Lavos (Fase 2) | [9 empty] | ND | Operacional
366 | Trifásico | 110133 | FALSE | FALSE | FALSE | 1TP | SIEMENS | 438000 | 22 | 230 |  | 230 | 2002-01-01 | SHELL DIALA D | 67 | Principal | Operacional |  |  |  | ODAF (Oil Directed Air Forced)
367 | Trifásico | S 0002 A | FALSE | FALSE | FALSE | 2TP | EFACEC | 438000 | 22 | 410 |  | 410 | 2003-01-01 | NYNAS NYTRO P | 62.5 | Principal | Operacional |  |  |  | ODAF (Oil Directed Air Forced)
368 | Trifásico | S 0012 A | FALSE | FALSE | FALSE | 3TP | EFACEC | 438000 | 22 | 410 |  | 410 | 2004-01-01 | NYNAS NYTRO P | 62.5 | Principal | Operacional |  |  |  | ODAF (Oil Directed Air Forced)
369 | Trifásico | LEL 91749 | FALSE | FALSE | FALSE | TS1 | SIEMENS | 14000 | 6.6 | 22 |  | 22 | 2003-01-01 | NYNAS NYTRO 10 BN | 5.3 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
370 | Trifásico | LEL 91750 | FALSE | FALSE | FALSE | TS2 | SIEMENS | 14000 | 6.6 | 22 |  | 22 | 2003-01-01 | NYNAS NYTRO 10 BN | 5.3 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
371 | Trifásico | LEL 97216 | FALSE | FALSE | FALSE | TS3 | SIEMENS | 14000 | 6.6 | 22 |  | 22 | 2005-01-01 | NYNAS NYTRO 10 BN | 5.3 | Auxiliar | Operacional |  |  |  | ONAN (Oil Natural Air Natural)
372 | Trifásico | 108484 | FALSE | FALSE | FALSE | Reserva TS | Imefy | 14000 | 6.9 | 23.1 |  | 23.1 | 2012-01-01 | NYNAS NYTRO TAURUS | 4.45 | Reserva | NOperacional |  |  |  | ONAN (Oil Natural Air Natural)
373 | Trifásico (Fases Dissociadas) | S 0050 A | FALSE | FALSE | FALSE | Reserva TP | EFACEC | 500000 | 18 | 400 |  | 400 | 2010-01-01 | NYNAS NYTRO TAURUS | 90 | Reserva | NOperacional |  |  |  | ODAF (Oil Directed Air Forced)
374 | Trifásico (Fases Dissociadas) | S 0109A | FALSE | FALSE | TRUE | 1TP | EFACEC | 160000 |  | 415 |  |  | 2016-01-01 | NYNAS NYTRO TAURUS | 36.5 | Principal | Operacional
375 | Trifásico (Fases Dissociadas) | S 0109B | FALSE | FALSE | TRUE | 2TP | EFACEC | 160000 |  | 415 |  |  | 2016-01-01 | NYNAS NYTRO TAURUS | 36.5 | Principal | Operacional
376 | Trifásico (Fases Dissociadas) | S 0068 A | FALSE | FALSE | FALSE | 1TP | EFACEC | 278000 |  | 240 |  |  | 2010-01-01 | NYNAS NYTRO TAURUS | 40 | Principal | Operacional
377 | Trifásico | S 0131A | FALSE | FALSE | FALSE | 2TP | EFACEC | 62000 | 10 | 10 |  | 10 | 2013-01-01 | NYNAS | 14 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)
378 | Trifásico (Fases Dissociadas) | S 0109A | FALSE | FALSE | TRUE | 1TP | EFACEC | 160000 |  | 415 |  |  | 2016-01-01 | NYNAS NYTRO TAURUS | 36.5 | Principal | Operacional
379 | Trifásico (Fases Dissociadas) | S 0109B | FALSE | FALSE | TRUE | 2TP | EFACEC | 160000 |  | 415 |  |  | 2016-01-01 | NYNAS NYTRO TAURUS | 36.5 | Principal | Operacional
380 | Trifásico (Fases Dissociadas) | S 0068 A | FALSE | FALSE | FALSE | 1TP | EFACEC | 278000 |  | 240 |  |  | 2010-01-01 | NYNAS NYTRO TAURUS | 40 | Principal | Operacional
381 | Trifásico | S 0131A | FALSE | FALSE | FALSE | 2TP | EFACEC | 62000 | 10 | 10 |  | 10 | 2013-01-01 | NYNAS | 14 | Principal | Operacional |  |  |  | ONAF (Oil Natural Air Forced)